## Slide 1: CST tests status for the Cherenkov electron BPMs
E. Senes
With many for the useful discussions and support to: M. Bergamaschi, A. Curcio, S. Sandovich,
T. Lefevre, M. Harrach (CST support)

## Slide 2: Outline
Diffraction Cherenkov simulations with CST
  Generalities and limitations
  Effect of the vacuum volume
  Beam steering
Comparison to Kostantin
Next steps

## Slide 3: Generalities and limitations
Simple CST 3D model of a triangular prism
  Dimensions
    70x40x45 mm
    Bore diameter 5 mm
  400 GHz bandwidth simulation
Wakefield simulation
  Beam sigma 1 ps, 100 nC
  Electric boundaries in x,y
  Open boundaries in z

## Slide 4: Generalities and limitations
Limitations
  MPI not available on CERN clusters  max 2^31 cells
  3D field monitor produce huge output. Saving the y=0 plane only is 40 GB. Broken frames from CST error. Support is taking care of it.
  No GPU acceleration for wakefield simulations. Max 8 cores and 96 threads. Anyway in general ~18h run time

## Slide 5: Effect of vacuum around the radiator
Side vacuum
  10 or 20 mm

## Slide 6: Effect of vacuum around the radiator
Side vacuum
  10 or 20 mm

## Slide 7: Effect of vacuum around the radiator
Vacuum before the radiator
  25 or 50mm

## Slide 8: Effect of vacuum around the radiator
Vacuum before the radiator
  25 or 50mm

## Slide 9: Effect of vacuum around the radiator
Vacuum after the radiator
  30 or 50mm

## Slide 10: Effect of vacuum around the radiator
Vacuum before the radiator
  25 or 50mm

## Slide 11: Beam steering

## Slide 12: Beam steering

## Slide 13: Beam steering

## Slide 14: Results of Konstantin

## Slide 15
vSIM
CST

## Slide 16
vSIM
CST

## Slide 17: Delta/sigma
From the peak to peak voltage at the field probes

## Slide 18: Summary
The region of interest goes up to ~450 ps with the present geometry. Konstatin was looking at ~150 ps. The region of interest is the peak around 270 ps.
No field pictures due to CST fail in handling big files
The vacuum around the prism seems to not to influence the region of interest. What comes after are reflections (?)
When steering the beam, the signal depends on the position as expected
The differences with vSIM come from ?
  Same beam and same geometry
  Material properties ?
  Slight difference in the field probe position ?

## Slide 19: What comes next ?
We can attempt GDFIDL instead
  Still 3D simulation to be compared to the 2D vSIM
If we reduce the vacuum, we could keep using CST
  But we have the field monitor problem …

## Slide 20: Spare

## Slide 21: Field monitor crash problem

## Slide 22
The only successful frame over ~800 …